Great Basin Unified Air Pollution Control District

157 Short Street, Bishop, California 93514-3537

Tel: 760-872-8211   Fax: 760-872-6109

#### Instructions for Authority to Construct/Permit to Operate Application

#### Section A-3 Fuel Burning Equipment

- Person Completing Form:  Name of Person completing form, date, information for calendar year, and APCD application number, if known.

- Facility Operating Schedule:  Facility operating schedule for the source as a whole.

- Reference Number:  Assign and identifying number for each boiler, furnace, kiln, space heater, etc. and use the same reference number for information on each of the three pages of Section A-3.

- Equipment Manufacturer and Model Number:  Nameplate data for fuel burning equipment.

- Rated Heat Input Capacity: Rated heat input capacity in BTU per hour.

- Type of Burner Unit:  Use burner codes listed at the bottom of the form. If the type is not on the list, enter (104) and specify the type.

- Usage: Type of fuel burning equipment; use usage codes listed at the bottom of the form. If the type of usage is not listed, enter (05) and specify the type.

- Heat Usage: Enter the percent of heat generated by the equipment used in process operations and the percent used for space heating of the buildings.

- Person Completing Form:  Name of person completing form, date and APCD application number, if known.

- Reference Number: Use the same numbers from page 1 of Section A-3 to identify information for the same fuel-burning unit.

- Stack of Exhaust Data:

  - Stack height in feet, from ground level.

  - Stack exit diameter, in feet or inches.

  - Stack exit gas velocity, in feet per minute.

  - Stack exit gas volume, in actual cubic feet per minute.

  - Stack exit gas temperature, in degrees Fahrenheit.

- Fuel(s) Data:

  - Amount of fuel burned per hour. Specify gallon, tons, cubic feet, etc.

  - Amount of fuel burned per year. Specify gallon, tons, cubic feet, etc.

  - Heat content of fuel. Amount of BTU per pound, gallon, cubic feet, etc. Specify.

  - Sulfur content of fuel. Average percentage.

Ash content of fuel. Average percentage.

If percentage of ash and sulfur are unknown, list the fuel type (coal, gas, propane, wood, #6 oil, etc.) and the dealer who supplies the fuel at the bottom of the form in the blanks provided so that the District may obtain information from the dealer.

- Person Completing Form: Name of person completing form, date and APCD application number, if known.

14.	Reference Number:  Use the same numbers from pages 1 & 2 of section A-3 to identify information for the same fuel-burning unit.

- Air Pollution Control Equipment:

  - Manufacturer and Model Number.  Nameplate data for control equipment.

  - Type. Use Air Pollution Control Equipment Codes at the bottom of the form. If type is not listed, enter (014) and specify type.

  - Design efficiency.  Enter the percent efficiency of pollutants removal that the control equipment was designed for, if known.

  - Actual efficiency.  Enter the actual removal efficiency of the equipment if tests have been made to determine the efficiency.

- Emission Rates: Specify the tons per year of each of the listed pollutants actually emitted into the air and give the basis for the estimation (stack tests, emission factors, material balances, etc.).